Mass Spectrometry Method and Acknowledgment for Manuscript Preparation

Materials and Methods

In-gel trypsin digestion

The protocol used for in-gel trypsin digestion of proteins in gels was adapted mainly from the method described by Wilm and Mann [1].  Briefly, the protein spot from 2-D gel (or band from 1-D gel) were manually excised and each spot (or band) was cut into small pieces (~0.5 mm3).  The gel pieces in an eppendorf tube were washed a few times with solution containing 50% methanol and 5% acetic acid for 2-3 hours, twice with solution of 25 mM NH4HCO3 in 50% acetonitril for 10 min each, and then the gel pieces were dried in a vacuum centrifuge.  The reduction with DTT and alkylation with iodoacetamide of proteins in gel pieces were performed and the gel pieces were washed and dried in a vacuum centrifuge before trypsin digestion.  A trypsin solution in 25 mM NH4HCO3 containing 75 to 100 ng of sequencing grade modified trypsin (Promega) in 25-40 (l was added and incubated with gel pieces for 12-16 hours at 37oC.  To recover the tryptic peptides, a solution of 30 (l containing 5% formic acid and 50% acetonitril was added to the gel pieces, agitated in a vortex for 30-60 min and withdrawn into a new tube.  The recover was repeated once with 15 (l solution and the resulting two recovers were combined and dried in a vacuum centrifuge.  The dried pellet was re-dissolved in 10-20 (l of 0.1% formic acid for LC-MS/MS analysis.

MS method for protein identification and analysis

The LC-nESI-Q Exactive mass spectrometer model from Thermo Fisher Scientific coupled with an on-line nanoUHPLC (Dionex UltiMate 3000 Binary RSLCnano) was utilized for protein identification and analysis.  An Acclaim PepMap 100 C18 trap column (75 µm x 2.0 cm, 3 µm, 100 Å, Thermo Scitific) and an Acclaim PepMap RSLC C18 nano LC column (75 µm x 15 cm, 2 µm, 100 Å) were used to deliver solvent and separate tryptic peptides with a linear gradient from 3% to 30% of acetonitrile in 0.1% (v/v) formic acid for 3 hr at flow rate of 300 nl/min.  The acquisition of the MS data was performed on the data dependent mode with a full MS scan followed by 10 MS/MS scans of the top 10 precursor ions from the MS scan.  The MS scan was performed with a resolving power of 70,000 over the mass-to-charge (m/z) range 380 to 1800 and dynamic exclusion enabled.  The data dependent MS/MS acquisitions were performed with: 2 m/z isolation window, 27 NCE, and 17,500 resolving power.  Peptide and protein identification was performed using the Proteome Discoverer software (v1.4, Thermo Fisher Scientific) with SEQUEST search engine against a soybean database with 45,991 protein sequence entries.  The parameters for database searches were set as follows: full trypsin digestion with 2 maximum missed cleavage sites, precursor mass tolerance = 10 ppm, fragment mass tolerance = 0.02 Da, dynamic modifications: oxidation (M), static modifications: carbamidomethyl (C). The identified peptides were validated using Percolator algorithm against the decoy database search which rescored peptide spectrum matches (PSM) using q-values and posterior error probabilities.  All the peptides were filtered with a q-value threshold of 0.01 (1% false discovery rate), and proteins were filter with a minimal of 2 peptides per protein, which only the rank 1 peptides and peptides in top scored proteins were counted.

Acknowledgement

Mass spectrometric protein identifications and analyses were performed by the Proteomics Core Laboratory sponsored by the Institute of Plant and Microbial Biology and the Agricultural Biotechnology Research Center, Academia Sinica.

References:

[1] Shevchenko. A.; Wilm. M.; Vorm, O.; Mann, M. Mass spectrometric sequencing of proteins in silver-stained polyacrylamide gels. Anal. Chem. 1996, 68:850-858.