ABI Prism(3730 DNA Analyzer WORK REQUEST

Institute:                        Signature of Principle Investigator:
Researcher:                      Date: 
□ Plasmid DNA (500 ng-750 ng/3kb-7kb, 1ug /8 kb-13 kb) 
□ PCR product ( 100 ng/500 bp, 200 ng/1 kb )
For all samples: Submit DNA template in total volume of 12 l in 0.2 ml PCR tube including 20 pmol specific primer (for 10 M primer, add 2 l) or 10 l without primer. The core lab can add standard primers (M13F, M13R, T7P, SP6, T7T, T3 and polyATGC) if indicated below. Please download and upload the Request form in 208 sample sheet folder at ftp://172.20.91.208 (IPMB) or ftp://140.109.59.110 (non IPMB). 
Peak Trace: Post-run analysis of sequence traces by Peak Trace software can increase useable read length for sequences over 700-800 bp. Peak Trace is typically used for plasmid DNA templates. There is an additional charge of 3 NT/sample for Peak Trace analysis; however, this extra charge is only applied if Peak Trace successfully extends the useable read length.
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